| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | ATOMIC FORCE MICROSCOPE | Description Routine high-resolution imaging Powerful research flexibility Fast setup and workflow Features Streamlined Design Patented Top-Down Optics Easy Sample Access Technical specification Sample Size 45 mm x 45 mm x 18 mm Motorized Z Travel 18 mm, with pitch and tilt capability Closed-Loop, Large-Area Scanner XY >90 µm, Z >7.5 µm Open-Loop, Small-Area Scanner XY >5 µm, Z >1.5 µm Z Noise Floor <50 pm RMS, typical imaging bandwidth Closed-Loop XY Noise <1.2 nm RMS, typical imaging bandwidth Z Linearizer Noise <200 pm RMS, typical imaging bandwidth Open-Loop XY Drift <1 nm/min Closed-Loop WY Drift <3 nm/min Open-Loop Warm-Up Time 15 min Electronics 20-bit DAC scan control, 8 ADCs (100 kHz ±10V); Digital force and position feedback, programmable/controllable via external signals; Integrated software-configurable signal access and routing; 2 full-digital lock-ins Optics On-axis, 1.25 mm - 0.25 mm FOV; Software-controlled 5x motorized zoom; 10x objective (50x optional); <2 µm resolution (0.75 µm resolution with 50x) Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | Pcs | 1 |