| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | ATOMIC FORCE MICROSCOPE | Description Highest resolution imaging Unlimited open-access flexibility Easy expert-quality results Features Peak Force-HR Module Advanced Environmental Control Nano Scope Open-Access Toolbox Technical specification Imaging Noise Level <30 pm RMS (Z noise using TappingMode in air at zero scan size) Maximum Sample Size 15 mm diameter x 5 mm thick Regulatory Certification CE compliant Laser Classification Class 2M, 1 mW maximum at 690 nm Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | Pcs | 1 |