| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | 3D X-RAY MICROSCOPY (XRM) | Application Additive Manufacturing Medical Devices and Pharmaceutical Packaging Geology Features High-capacity benchtop Latest detector technology In-situ stages Technical specification X-ray source: 40-130 kV, 39 W X-ray detector: Active pixel CMOS flat-panel, 6 MP (3072 x 1944) Object size: 250 mm diameter, 250 mm height Dimensions: W 1250 mm x D 815 mm x H 820 mm Weight 450 kg Power supply: 100-240 VAC, 50-60 Hz, 3 A max. Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | Pcs | 1 |