| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | 3D X-RAY MICROSCOPY (XRM) | Application Fibers and Composites Pharmaceuticals Foams Technical specification X-ray source: 40 – 100 kV, 10 W, < 5 µm spot size at 4 W X-ray detector: 16 MP sCMOS detector (4096 x 4096 pixels) Object size: 75 mm diameter, 80 mm height Dimensions: W 1160 mm x D 520 mm x H 330 mm Weight 150 kg Power supply: 100-240V AC, 50-60Hz, 3A max. Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | pcs | 1 |