| Item No. | Item Name | Technical Specifications | Unit of Measurement | Quantity |
| --- | --- | --- | --- | --- |
| 1 | FT-IR MICROSCOPE | Applications - Failure analysis - Particle & surface analysis - Industrial manufacturing - Forensical science - Life science - Polymers & plastics - Environmental science - Pharmaceuticals Technical Features - Standard TE-MCT detector - Plug & Play: no liquid nitrogen, no dry-air purge - Optional FPA-imaging detector - Fully motorized and automated hardware - Accommodates samples of up to 40 mm in height - Long lifetime of components including laser - Inert to high humidity (ZnSe Optics) - Stand-alone design, small footprint - Low power consumption Documentation: - CE marking and declaration conformity - Documents for the Installation and Operational Qualification (IQ / OQ) - Functional Specification - Design Qualification (DQ) and others relevant document | Pcs | 1 |